# DIGITAL THERMOMETER

# Introduction:

A thermometer is a scientific instrument used to measure temperature. Temperature indicates the degree of hotness or coldness of an object or environment. Thermometers are widely used in medical, industrial, laboratory, meteorological, and domestic applications.

## History of Thermometer :

- 1593 – Galileo Galilei invented an early thermoscope

- 1714 – Daniel Gabriel Fahrenheit developed the mercury thermometer

- 1742 – Anders Celsius introduced the Celsius scale

- Modern Era – Digital and infrared thermometers replaced mercury due to safety concerns

## Types of Thermometers:

### Liquid-in-Glass Thermometer

- Mercury thermometer

- Alcohol thermometer

### Digital Thermometer

- Uses electronic sensors

- Fast and accurate

### Infrared Thermometer

- Measures temperature without contact

- Common in medical screening

### Bimetallic Thermometer

- Used in industrial equipment

### Gas Thermometer

- Highly accurate, used in laboratories

## Overall View of Common Thermometers:

## Main Components of a Thermometer:

### Liquid-in-Glass Thermometer Components

- Bulb – Contains mercury or alcohol

- Capillary Tube – Narrow tube for liquid expansion

- Glass Stem – Encloses the capillary

- Scale – Graduated markings (°C / °F)

### Digital Thermometer Components

- Temperature Sensor (Thermistor)

- Microcontroller

- Display (LCD/LED)

- Battery

- Plastic Casing

## Internal Components of a Digital Thermometer:

## Working Principle of Thermometer:

## Electronic thermometers detect temperature changes using a thermoresistive device in which the electrical resistance changes in response to changes in temperature

### Working of Liquid-in-Glass Thermometer

- Temperature change causes expansion or contraction of liquid

- Liquid rises or falls in the capillary tube

- Temperature is read from the scale

### Working of Digital Thermometer

- Sensor detects temperature

- Converts temperature into electrical signal

- Microcontroller processes data

- Result is shown on digital display

## Workflow of a Digital Thermometer:

### Workflow Steps:

- Sensor contacts object/body

- Temperature change detected

- Electrical signal generated

- Signal processed digitally

- Temperature displayed on screen

## Applications of Thermometer:

- Medical diagnosis

- Weather forecasting

- Industrial process control

- Food safety

- Laboratory experiments

## Advantages and Disadvantages

### Advantages

- Accurate temperature measurement

- Easy to use

- Portable (digital types)

### Disadvantages

- Mercury thermometers are hazardous

- Digital thermometers require batteries

## Safety Precautions

- Do not break mercury thermometers

- Dispose of damaged thermometers properly

- Avoid exposure to mercury vapor

## Conclusion

The thermometer is a vital instrument used in everyday life and scientific applications. With advancements in technology, digital and infrared thermometers have improved accuracy, safety, and convenience, making temperature measurement faster and more reliable.